## ACPSEM ROMP Workforce Calc.
ROMP Workforce Model
1. ROMP Workday breakdown | [13 empty] | None
ROMP Standard Work Hours | [13 empty] | Low
Mid
High
Working hours per day
Working days per week
Annual leave (working days per year)
Public Holidays per year
Conference and study leave days per year
Other leave days (Total per year)
Total worked days per year |  | 0
Total hours worked per year |  | 0
- Standard ROMP hours on patient and equipment QA activities |  | 0
- Standard ROMP hours not on patient or equipment QA specific activities |  | 0
ROMP activities that are not patient or equipment QA specific (scheduled within working hours) (Average per romp - department based - hours can be completed on a daily, weekly, monthly or annual basis and can be also entered as percentages) |  | 'Typical' hours per ROMP | % of Time dedicated | Averages across AUS/NZ Sites surveyed - USE as a GUIDE
Education |  | 0 | 0% | 9.12%
Classroom and departmental teaching/tutorials (Eg. RO registrar lectures/tuturials, CPD sessions for RT teams) |  |  |  | 2.76%
Delivering of TEAP training and assessment |  |  |  | 6.36%
Quality and Safety |  | 0 | 0% | 19.61%
Radiation safety and protection |  |  |  | 4.13%
Follow-up evaluations - PATIENT (Specific investigations not specified in 2. Clinical Activity Breakdown below) |  |  |  | 4.48%
Follow-up evaluations - SYSTEM (Specific investigations not specified in 2. Clinical Activity Breakdown below) |  |  |  | 5.35%
Indirect patient care (Eg. Peer Review, MDTs.) |  |  |  | 2.84%
Internal / External auditing and accreditation (Eg. ACDS or other external audits, inhouse auditing) |  |  |  | 2.81%
Clinical and service development |  | 0 | 0% | 20.25%
Clinical development |  |  |  | 9.9%
Service development (Eg. Implementation of new technique / technology) |  |  |  | 10.35%
Other Professional activities |  | 0 | 0% | 19.74%
Research |  |  |  | 3.13%
Continuing professional development |  |  |  | 3.4%
Administration-management |  |  |  | 6.46%
Document management |  |  |  | 4.17%
College activities (Eg. ACPSEM, other professional bodies) |  |  |  | 1.62%
Other (any other tasks not listed in the tables above, list these out.) |  |  |  | 0.96%
Proportion of time spent on ROMP activities that are not patient or equipment QA specific per ROMP |  | 0 | 0% | 68.72%
Proportion of time spent on patient or equipment QA per ROMP (activities in section 2 and 3) |  |  | 100% | 31.28%
2. Clinical Activity Breakdown - Patient
EBRT (Simulation, Planning, QA measurement, QA Analysis, Treatment Delivery and IVD) |  | Volume of cases per year | Physics time per case | a. Middle Romp Minutes per Case | Physics time per case - Factor |  |  | Estimated Minutes per case | ROMP Patient and Equipment QA FTE | ROMP activities that are not patient or equipment QA specific |  |  |  | 4. ROMP Equivalent FTE | ACPSEM Derived Middle Romp Minutes per Case
[5 empty] | Low | Mid | high |  |  | Education | Quality and Safety | Clinical and service development | Other professional activities
2D |  |  | Mid | 4.25 | 0.33529 | 1 | 7.8235 | 4.25 | [6 empty] | 4.25
3DCRT |  |  | Mid | 7.1 | 0.23759 | 1 | 2.8333 | 7.1 | [6 empty] | 7.1
VMAT/IMRT/Tomotherapy |  |  | Mid | 45.25 | 0.55249 | 1 | 1.8343 | 45.25 | [6 empty] | 45.25
SXRT / superficial |  |  | Mid | 20.5 | 0.57012 | 1 | 1.9024 | 20.5 | [6 empty] | 20.5
Electrons |  |  | Mid | 27.6 | 0.62319 | 1 | 1.8886 | 27.6 | [6 empty] | 27.6
SABR simple - (Eg. Bony met) |  |  | Mid | 102.25 | 0.84352 | 1 | 1.5257 | 102.25 | [6 empty] | 102.25
SABR complex - (Eg. SABR lung with motion mgmt) |  |  | Mid | 156 | 0.65641 | 1 | 1.2981 | 156 | [6 empty] | 156
SRS - (Eg. Single fraction, or cones, or mult-met) |  |  | Mid | 129 | 0.81977 | 1 | 1.5802 | 129 | [6 empty] | 129
Adaptive RT - (Daily adaptive) |  |  | Mid | 110 | 0.40909 | 1 | 1.9227 | 110 | [6 empty] | 110
Cyberknife* |  |  | Mid | 71.1265 | 0.55249 | 1 | 1.8343 | 71.1265 | [6 empty] | 71.1265
MR Linac2 |  |  | Mid | 870 | 0.55249 | 1 | 1.8343 | 870 | [6 empty] | 870
GammaKnife* |  |  | Mid | 506.084 | 0.63333 | 1 | 1.3667 | 506.084 | [6 empty] | 506.084
TBI |  |  | Mid | 523 | 0.57361 | 1 | 1.8413 | 523 | [6 empty] | 523
TSET~ |  |  | Mid | 365.4883 | 0.52747 | 1 | 3.9286 | 365.4883 | [6 empty] | 365.4883
IORT# |  |  | Mid | 140 | 0.53929 | 1 | 2.5714 | 140 | [6 empty] | 140
EBRT: additional activities |  | Volume of cases per year | Physics time per case | a. Middle Romp minutes per Case | Physics time per case - Factor |  |  | Total Minutes per case | ROMP Patient and Equipment QA FTE | ROMP activities that are not patient or equipment QA specific |  |  |  | 4. ROMP Equivalent FTE | ACPSEM Derived Middle Romp Minutes per Case
[5 empty] | Low | Mid | high |  |  | Education | Quality and Safety | Clinical and service development | Other professional activities
Motion Mgmt |  |  | Mid | 10 | 0.4875 | 1 | 3.125 | 10 | [6 empty] | 10
Patient positioning/immobilisation for EBRT | simple |  | Mid | 0 | 1 | 1 | 1.8 | 0 | [6 empty] | 0
| customised |  | Mid | 1.5 | 0 | 1 | 1.3333 | 1.5 | [6 empty] | 1.5
| complex |  | Mid | 7.75 | 0.048387 | 1 | 3.2258 | 7.75 | [6 empty] | 7.75
Additional image acquisition for EBRT | MRI/PET CT |  | Mid | 1.5 | 0.6 | 1 | 4 | 1.5 | [6 empty] | 1.5
Additional activities related to TV definition | Image fusion (PET/CT, MRS, etc) |  | Mid | 3 | 0.275 | 1 | 6.6667 | 3 | [6 empty] | 3
Block cutting/accessories / output factor measurement / bolus |  |  | Mid | 5.5 | 0.11136 | 1 | 2.7273 | 5.5 | [6 empty] | 5.5
Advice / measurements for implanted devices - (Eg. Pacemakers, neurostimulators, prostheses) |  |  | Mid | 20 | 0.68125 | 1 | 1.5 | 20 | [6 empty] | 20
Evaluation/advice during treatment |  |  | Mid | 20 | 0.23438 | 1 | 1.5 | 20 | [6 empty] | 20
Brachytherapy |  | Volume of cases per year | Physics time per case | a. Middle Romp minutes per Case | Physics time per case - Factor |  |  | Total Minutes per case | ROMP Patient and Equipment QA FTE | ROMP activities that are not patient or equipment QA specific |  |  |  | 4. ROMP Equivalent FTE | ACPSEM Derived Middle Romp Minutes per Case
[5 empty] | Low | Mid | high |  |  | Education | Quality and Safety | Clinical and service development | Other professional activities
Simple insertion of applicator or mould placement without image guidance (volume study) |  |  | Mid | 140 | 0.53929 | 1 | 2.5714 | 140 | [6 empty] | 140
Intermediate insertion of intracavitary applicator without image guidance (incl theatre time)* |  |  | Mid | 38.9247 | 0.41667 | 1 | 2.1667 | 38.9247 | [6 empty] | 38.9247
Complex insertion of intracavitary or endocavity or intraluminal or endovascular applicators with image guidance (incl theatre time) |  |  | Mid | 300 | 0.325 | 1 | 1.5333 | 300 | [6 empty] | 300
Complex insertion of hybrid intracavitary and interstitial or multi-catheter applicators, which contain multiple catheters encased in a single device (incl theatre time) |  |  | Mid | 277.5 | 0.45946 | 1 | 1.5946 | 277.5 | [6 empty] | 277.5
Complex insertion of interstitial implants not requiring surgical exposure with image guidance* |  |  | Mid | 249.7223 | 0.74534 | 1 | 1.1304 | 249.7223 | [6 empty] | 249.7223
Complex insertion of interstitial implants requiring surgical exposure with or without image guidance |  |  | Mid | 225 | 0.73333 | 1 | 1.8222 | 225 | [6 empty] | 225
User defined patient activtiy |  | Volume of cases per year |  | Romp minutes per Case |  |  |  | Total Minutes per case | ROMP Patient and Equipment QA FTE | ROMP activities that are not patient or equipment QA specific |  |  |  | 4. ROMP Equivalent FTE | ACPSEM Derived Middle Romp Minutes per Case
[10 empty] | Education | Quality and Safety | Clinical and service development | Other professional activities
0
0
3. Clinical Activity Breakdown - Equipment
Equipment QA |  | Equipment Volumes |  | Average ROMP QA minutes per Unit per year |  |  |  | Total Equipment QA minutes per annum | ROMP Patient and Equipment QA FTE | ROMP activities that are not patient or equipment QA specific |  |  |  | 4. ROMP Equivalent FTE
|  | Total | Comissioning | a. BAU QA | Commissioning3 |  |  |  |  | Education | Quality and Safety | Clinical and service development | Other professional activities |  | ACPSEM Derived BAU QA
[5 empty] | Default Time | Low-Mid (USE as GUIDE) | Mid-High (USE as GUIDE)
Co 60 - MV single energy1 | [5 empty] | - | - | 0
SXRT |  |  |  | 5087.3684 | 5700 | 4800 | 6600 | 0 | [6 empty] | 5087.3684
Xray - C arm^ |  |  |  | 151.0378 | 2943 | - | - | 0 | [6 empty] | 151.0378
Linac |  |  |  | 11541.8021 | 30630 | 19560 | 41700 | 0 | [6 empty] | 11541.8021
Tomotherapy^ |  |  |  | 5089.6955 | 30630 | - | - | 0 | [6 empty] | 5089.6955
Cyberknife^ |  |  |  | 21307.9423 |  | - | - | 0 | [6 empty] | 21307.9423
MR Linac2 |  |  |  | 15000 | 136380 | - | 136380 | 0 | [6 empty] | 15000
GammaKnife^ |  |  |  | 11183.9167 |  | - | - | 0 | [6 empty] | 11183.9167
CT Sim |  |  |  | 3150.9882 | 2490 | 2100 | 2880 | 0 | [6 empty] | 3150.9882
Brachy HDR / PDR |  |  |  | 6141.9135 | 5010 | 2340 | 7680 | 0 | [6 empty] | 6141.9135
Brachy LDR |  |  |  | 1098.75 | 5010 | - | - | 0 | [6 empty] | 1098.75
Brachy Eye Plaques^ |  |  |  | 313.7912 | 2943 | - | - | 0 | [6 empty] | 313.7912
Brachy Other^ |  |  |  | 151.0378 |  | - | - | 0 | [6 empty] | 151.0378
Ultrasound |  |  |  | 784.4444 | 1650 | 960 | 2340 | 0 | [6 empty] | 784.4444
Fluoro^ |  |  |  | 430.1293 | 1650 | - | - | 0 | [6 empty] | 430.1293
CBCT |  |  |  | 1438.4595 | 2943 | 2160 | 3726 | 0 | [6 empty] | 1438.4595
OBI |  |  |  | 852.6923 | 3450 | 2100 | 4800 | 0 | [6 empty] | 852.6923
non orthogonal KV |  |  |  | 2121.7632 | 3450 | - | - | 0 | [6 empty] | 2121.7632
SGRT |  |  |  | 2770.7692 | 3180 | - | - | 0 | [6 empty] | 2770.7692
EPID |  |  |  | 1134.5933 | 1380 | 960 | 1800 | 0 | [6 empty] | 1134.5933
2D, 3D and 4D TPS per DB |  |  |  | 3263.1238 | 28470 | 15780 | 41160 | 0 | [6 empty] | 3263.1238
MRI, PET-CT, 4D CT Sim, SPECT-CT |  |  |  | 2108.6875 | 2490 | - | - | 0 | [6 empty] | 2108.6875
R&V network/OIS |  |  |  | 2797.7258 | 2790 | 1980 | 3600 | 0 | [6 empty] | 2797.7258
Data management systems |  |  |  | 4898.5595 | 6420 | 2100 | 10740 | 0 | [6 empty] | 4898.5595
Image processing and registration systems |  |  |  | 942.2449 | 3300 | 2820 | 3780 | 0 | [6 empty] | 942.2449
Independent dose verification systems |  |  |  | 1309.1855 | 12990 | 6780 | 19200 | 0 | [6 empty] | 1309.1855
Absolute dosimetry equipment (inc Sr-90) |  |  |  | 944.9674 | 2760 | 1560 | 3960 | 0 | [6 empty] | 944.9674
Relative dosimetry equipment (inc Sr-90) |  |  |  | 650.3529 | 870 | 660 | 1080 | 0 | [6 empty] | 650.3529
Survey and monitoring equipment |  |  |  | 263.3488 | 330 | 240 | 420 | 0 | [6 empty] | 263.3488
In-vivo dosimetry equipment |  |  |  | 898.95 | 3180 | 2280 | 4080 | 0 | [6 empty] | 898.95
Automatic/manual block cutter |  |  |  | 150.3846 | 240 | 240 | - | 0 | [6 empty] | 150.3846
Workshop (patient accessories, devices, Including 3D printers, etc) |  |  |  | 1141.1429 | 2310 | 1800 | 2820 | 0 | [6 empty] | 1141.1429
SRT / SBRT / SRS / IORT equipment |  |  |  | 2137.4359 | 3510 | 2520 | 4500 | 0 | [6 empty] | 2137.4359
Other equipment |  |  |  | 3049.2381 | 13050 | 7200 | 18900 | 0 | [6 empty] | 3049.2381
User defined Equipment QA |  | Equipment Volumes |  | Average ROMP QA minutes per Unit per year |  |  |  | Total Equipment QA minutes per annum | ROMP Patient and Equipment QA FTE | ROMP activities that are not patient or equipment QA specific |  |  |  | 4. ROMP Equivalent FTE
|  | Total | Comissioning | BAU QA | Commissioning Time |  |  |  |  | Education | Quality and Safety | Clinical and service development | Other professional activities |  | ACPSEM Derived BAU QA
0
0
0
Estimated ROMP FTE requirements | [8 empty] | ROMP Patient and Equipment QA FTE | ROMP activities that are not patient or equipment QA specific |  |  |  | 4. ROMP Equivalent FTE
[10 empty] | Education | Quality and Safety | Clinical and service development | Other professional activities
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0
a. Values can be overwritten, and will be highlighted red - to revert back to original modelled values, redownload calculator
* Individual centre average patient times per case has been pegged to VMAT/IMRT/Tomotherapy Times. VMAT/IMRT/Tomotherapy intensity have also been used where a range could not be calculated
~ Individual centre average QA times for TSET has been pegged to TBI
# Individual centre average patient times IORT per case has been pegged to Brachytherapy (simple insertion). Brachytherapy (simple insertion) has also been used where a range could not be calculated
^ Individual centre average QA time have been pegged to Linac QA times
1. No available data
2. Based on 1 site - this site has provided approval for data to be realeased. VMAT/IMRT/Tomotherapy intensity has been used for average MRI patient case times. Commissioning times reflect the new technology; Commissioning time will likely decrease in future
3. Commissioning time are indicative and should be used as a guide - values can be overwritten should they not be appropriate to your circumstances. Some data is not presented as data was not available, proxy commissioning times were used (highlighted in Orange).
4. Effective contribution of registrars and other unregistred staff to qualified ROMP equivalent FTE left to user.